XOOLUM IP20 static white, tunable white, RGB

XOOLUM IP40 static white, tunable white, RGB and RGBW

24 V, externally certified, up to IP40-rated linear luminaire with outstanding modularity, compact design, and adjustable luminaire head (adjustable +/- 45°).

XOOLUM (not tilted): 25.4 mm x 31 mm (W x H)
XOOLUM (tilted 45°): 25.4 mm x 36 mm (W x H)

Housing made of extruded, anodized aluminum profiles in black E6/C35 and silver E6/C0. Optionally equipped with an IP67 cable and connector system or an open cable end. Available with end or rear cable feed. Includes mounting accessories as selected.

Optionally available with a highly efficient wall-washer reflector for homogeneous wall illumination, a precise 65° reflector for uniform general/task lighting, or an opal or clear cover in flat or high versions (high version available in opal only).

The luminaire has an IP20 rating when reflectors are used and an IP40 rating when one of the covers is selected.

Mounting accessory

- Surface mounting with a screw-fixed continuous aluminum mounting profile (profile is part of the luminaire). Ensures secure installation and allows +/- 45° adjustment of the luminaire head. Available in silver anodized and black anodized.

- Surface mounting with an adjustable stainless steel clip, allowing an additional 45° tilt of the luminaire (in addition to the 45° adjustment of the luminaire head).

- Suspension mounting with a suspension kit and adjustable cable suspension on the luminaire side, for direct ceiling installation. Available in silver and black.

Light engine

24 V light source, manufactured using a state-of-the-art automated reel-to-reel (R2R) production process, supporting LED Linear™ Tj Away® technology for thin, flexible circuit boards.

Static white and tunable white use LED packages, achieving a thermal resistance that enables optimal heat dissipation (junction-to-profile) and results in an outstanding lifetime of over 60,000 operating hours (L80/B10). Integrated high-quality LEDs with 3-step MacAdam binning (SDCM3), centered on a single target color temperature (one bin only) with extended photometric code Wxxx/339, ensure excellent color consistency over the entire rated lifetime. Protected against electrostatic discharge +/- 2,000 V and polarity miswiring.

Outstanding color rendering with Ra values up to 98 (R9 = 96) and TM-30-15 values up to Rf = 97 / Rg = 102. Protection against electrostatic discharge up to ±2,000 V and reverse polarity. For tunable white, excellent color rendering is achieved with Ra values up to 95 (R9 = 77) and TM-30-15 values up to Rf = 92 / Rg = 103, ensuring remarkable light quality.

RGB uses high-quality LED packages enabling optimal heat dissipation (junction-to-profile), achieving an outstanding lifetime of over 60,000 operating hours (L80/B10).

RGBW uses LED packages and chip-scale package (CSP) LEDs in white for optimal heat dissipation (junction-to-profile). Lifetime: 30,000 operating hours (L80/B10 for RGB) and over 60,000 hours (L80/B10 for white). Protection against electrostatic discharge up to +/- 2,000 V.

Consistent light intensity all along the luminaire length is obtained thanks to active current regulation operated by dedicated integrated circuits (ICs) on each step.

Fully PWM dimmable for frequency > 0 Hz up to 2 kHz (flicker free for frequency higher than 1.2 kHz according to IEEE P1789 standard).

Luminaire and light engine engineered and produced in Germany.

Reports and certifications

CE:	Yes, according to EN 60598-1:2022; EN 60598-2-1:2021

Ecodesign Directive 2019/2020/EU (L315/209)

ROHS Directive 2011/65/EU (L174/88)

WEEE Directive 2012/19/EU (L197/38)

ETL:				Yes, according to ATM report

UL2108:2015 Ed.2+R:27Sep2024;

CSA C22.2#250.0:2021 Ed.5+U1;U2

UV resistance 			Yes, according DIN ISO 4892-2

Testing conditions: doses of UV-A and UV-B radiation equivalent to ten years of direct sunlight exposure

TM30, TM21, TM82:		Reports available on request

LM79, LM80:			Reports available on request